## Sample sequence & Absorbance
Fructose Test
SAMPLE SEQUENCE
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0 mg/ml | 0 mg/ml | S5 | S5 | S13 | S13 | S21 | S21 | S29 | S29 | S37 | S37 | Sample analysis 1
B | 1 mg/ml | 1 mg/ml | S6 | S6 | S14 | S14 | S22 | S22 | S30 | S30 | S38 | S38 | Sample analysis 2 (duplet)
C | 2,5 mg/ml | 2,5 mg/ml | S7 | S7 | S15 | S15 | S23 | S23 | S31 | S31 | S39 | S39
D | 5 mg/ml | 5 mg/ml | S8 | S8 | S16 | S16 | S24 | S24 | S32 | S32 | S40 | S40
E | S1 | S1 | S9 | S9 | S17 | S17 | S25 | S25 | S33 | S33 | S41 | S41
F | S2 | S2 | S10 | S10 | S18 | S18 | S26 | S26 | S34 | S34 | S42 | S42
G | S3 | S3 | S11 | S11 | S19 | S19 | S27 | S27 | S35 | S35 | S43 | S43
H | S4 | S4 | S12 | S12 | S20 | S20 | S28 | S28 | S36 | S36 | S44 | S44
ABSORBANCE DATA
Copy absorbance data and paste special (values) in the cells below.
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Date |  |  |  |  | Signature lab technician |  |  |  |  | Signature lab responsible
2021-05-17

## Calculation fructose
Fructose Test
equation of standard curve: |  | y=ax+b
slope (a): |  | 0
intercept (b): |  | 0
coefficient of determination (R² ≥0,98) |  | #DIV/0! | #DIV/0!
ABSORBANCE DATA FROM BLANC, STANDARDS AND SEMEN SAMPLES
| Volume of sample (ml) | OD (470-492nm) |  | Mean | Stdev | corrected | fructose concentration (mg/ml) | fructose concentration (mg/ejaculate) | Date
|  | Analysis 1 | Analysis 2 | [5 empty] | 2021-05-17
blanc | - | 0 | 0 | 0 | 0 | 0 | 0
standard 1 | - | 0 | 0 | 0 | 0 | 0 | 1
standard 2 | - | 0 | 0 | 0 | 0 | 0 | 2.5
standard 3 | - | 0 | 0 | 0 | 0 | 0 | 5
semen sample 1 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 2 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 3 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | Signature lab technician
semen sample 4 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 5 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 6 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 7 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 8 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 9 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 10 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | Signature lab responsible
semen sample 11 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 12 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 13 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 14 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 15 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 16 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 17 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 18 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 19 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 20 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 21 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 22 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 23 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 24 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 25 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 26 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 27 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 28 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 29 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 30 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 31 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 32 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 33 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 34 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 35 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 36 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 37 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 38 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 39 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 40 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 41 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 42 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 43 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
semen sample 44 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!