## Sample sequence
EpiScreen Plus™
SAMPLE SEQUENCE
1. Pipette 200 µl of all standards / samples (duplo) into a microtitre plate, as indicated below.
2. The blue cells are samples without enzyme inhibitor (glucose) and are used to measure NAG activity.
3. Green cells are samples containing glucose. These values are used as semen background correction.
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0 | 0 | S2 | S2 | S6 | S6 | S10 | S10 | S14 | S14 | S18 | S18 | Sample without inhibitor
B | 10 | 10 | S2 | S2 | S6 | S6 | S10 | S10 | S14 | S14 | S18 | S18 | Sample with inhibitor
C | 50 | 50 | S3 | S3 | S7 | S7 | S11 | S11 | S15 | S15 | S19 | S19
D | 100 | 100 | S3 | S3 | S7 | S7 | S11 | S11 | S15 | S15 | S19 | S19
E | 150 | 150 | S4 | S4 | S8 | S8 | S12 | S12 | S16 | S16 | S20 | S20
F | 200 | 200 | S4 | S4 | S8 | S8 | S12 | S12 | S16 | S16 | S20 | S20
G | S1 | S1 | S5 | S5 | S9 | S9 | S13 | S13 | S17 | S17 | S21 | S21
H | S1 | S1 | S5 | S5 | S9 | S9 | S13 | S13 | S17 | S17 | S21 | S21
Date | [5 empty] | Signature lab technician | [6 empty] | Signature lab responsible
2023-04-03

## Patient data
EpiScreen Plus™
SAMPLE/PATIENT DATA |  |  | Enter patient name and/or sample code.
| Sample | Patient name / Sample code |  | Ejaculate volume (ml; if known)
| S1 |  |  |  |  | Date
| S2 |  |  |  |  | 2023-04-03
S3
| S4 |  |  |  |  | Signature lab technician
S5
S6
S7
S8
S9
| S10 |  |  |  |  | Signature lab responsible
S11
S12
S13
S14
S15
S16
S17
S18
S19
S20
S21

## Absorbance data
EpiScreen Plus™
ABSORBANCE DATA
Copy absorbance data and paste special (values) in the cells.
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Date | [5 empty] | Signature lab technician |  |  |  |  | Signature Lab responsible
2023-04-03

## Standard curve
EpiScreen Plus™
STANDARD CURVE
Conc 4-NP (µM) | OD 405 nm |  | Average | Stdev | RSD | RSD Check | Blank Corrected
0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
10 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
50 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
100 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
150 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
200 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | Date
2023-04-03
Slope | 0
Coefficient of determination | #DIV/0! | #DIV/0! | [5 empty] | Signature lab technician
Signature Lab responsible

## NAG Activity
EpiScreen Plus™
Neutral a-glucosidase activity
Sample code | OD values |  | mean OD value | mean blanc corrected OD values | stdev | RSD | RSD Check | OD reaction - OD inhibitor | PNP concentration (µM) | Enzyme activity (mIU/ml) | Date
S1 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | 2023-04-03
S1 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S2 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S2 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S3 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S3 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  |  |  | Signature lab technician
S4 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S4 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S5 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S5 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S6 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S6 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S7 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S7 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S8 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S8 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S9 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S9 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! |  |  |  | Signature Lab responsible
S10 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S10 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S11 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S11 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S12 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S12 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S13 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S13 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S14 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S14 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S15 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S15 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S16 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S16 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S17 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S17 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S18 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S18 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S19 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S19 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S20 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S20 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
S21 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
S21 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!

## Summary
EpiScreen Plus™
SUMMARY
Sample no | Sample code / Patient name | NAG activity (mIU/ml) |  | Cutoff (activity per ml)
S1 | 0 | #DIV/0! |  | #DIV/0!
S2 | 0 | #DIV/0! |  | #DIV/0!
S3 | 0 | #DIV/0! |  | #DIV/0!
S4 | 0 | #DIV/0! |  | #DIV/0!
S5 | 0 | #DIV/0! |  | #DIV/0!
S6 | 0 | #DIV/0! |  | #DIV/0!
S7 | 0 | #DIV/0! |  | #DIV/0!
S8 | 0 | #DIV/0! |  | #DIV/0!
S9 | 0 | #DIV/0! |  | #DIV/0!
S10 | 0 | #DIV/0! |  | #DIV/0!
S11 | 0 | #DIV/0! |  | #DIV/0!
S12 | 0 | #DIV/0! |  | #DIV/0!
S13 | 0 | #DIV/0! |  | #DIV/0!
S14 | 0 | #DIV/0! |  | #DIV/0!
S15 | 0 | #DIV/0! |  | #DIV/0!
S16 | 0 | #DIV/0! |  | #DIV/0!
S17 | 0 | #DIV/0! |  | #DIV/0!
S18 | 0 | #DIV/0! |  | #DIV/0!
S19 | 0 | #DIV/0! |  | #DIV/0!
S20 | 0 | #DIV/0! |  | #DIV/0!
S21 | 0 | #DIV/0! |  | #DIV/0!
LAB LIMITS INTRA-ASSAY CV |  |  | 10
The WHO monograph for assessment of α-glucosidase activity advises to use a CV of 10%.
Date |  | Signature lab technician
2023-04-03